ESTATES and FACILITIES

ASBESTOS MANAGEMENT POLICY STATEMENT

This Policy Statement applies, without exception, to all properties owned and maintained by the University of Aberdeen. It also applies to any property where the University of Aberdeen has maintenance responsibility, whether owned, rented, leased etc. unless specifically excluded in the relevant contractual documents.

This Policy Statement is written primarily for the benefit and activities of the Estates & Facilities Directorate and for controlling the risks from asbestos encountered when maintaining the University’s buildings. It does not cover risks from asbestos contained within equipment, which remains the responsibility of the School that owns it.

Estates & Facilities will, so far as reasonably practicable, prevent the exposure to staff, students, contractors and any other visitors to University property, to airborne asbestos fibres released by any works upon the estate.

To achieve this, the University policy will be to:

- Comply with all relevant legislation including, but not limited to, the Control of Asbestos Regulations (CAR) 2012.

- Comply with all guidance contained in current ACOPs and other HSE guides.

- Only allow Estates & Facilities to perform or instigate works upon the fabric or services of University property.

- Maintain asbestos risk assessments, including annual inspections, for all buildings constructed prior to January 2000. New acquisitions will be assessed upon completion.

- Ensure that, prior to any work upon the building fabric or their services, no matter what the scale, an assessment of asbestos risk is made by the Health, Safety and Asbestos Manager.

- Remove asbestos materials in a hazardous condition or posing a potential hazard to planned works and encapsulate, if required, and then inspect on a regular basis all other asbestos materials.

- Use only University approved, HSE licensed asbestos removal contractors, for asbestos removal works, including all non-licensed works.

- Not allow University of Aberdeen staff to enter any Asbestos Areas (i.e. those areas where there is a foreseeable risk of asbestos exposure) or will it allow University staff to work directly upon asbestos materials.

- Maintain a comprehensive and up-to-date register of known & suspected asbestos materials, that is accessible to all persons who may need the information, updated as asbestos is removed or discovered, or if its condition changes, in a way which is clear and unambiguous.

- Provide all University of Aberdeen Estates & Facilities staff with the relevant level of asbestos training that they require to safely discharge their duties.

- Require that all contractors have attained a satisfactory and relevant level of asbestos awareness training, before attending site.

- Review this policy and attendant procedures on a regular basis, and to document and implement the findings of these reviews.

- Review the management system independently on a regular basis, usually annually.

Morag Beers, Director of Estates and Facilities.

August 2024